Double Beta Decay in Xenon-136:
Measuring the Neutrino-Emitting Mode
and Searching for Majoron-Emitting Modes
Steven Herrin
Ph.D. Dissertation Defense
2013-05-24

---
Outline
- Neutrino physics and double beta decay
- The EXO-200 detector
  - Liquid xenon
  - Design and construction
  - Data collection
  - Calibration
- Cosmic ray muons
- Double beta decay
  - Statistics
  - Measurements!
- The future

---
Neutrino Physics Starts with Beta Decay
Where is the rest of the energy going?
?
Otto
Hahn
Lise
Meitner
(electron energy)/(maximum energy)
James Chadwick
N neutrons
Z protons
N-1 neutrons
Z+1 protons
electron

---
Neutrino Physics Starts with Beta Decay
electron
(anti)neutrino
electron
neutrino
neutron
proton
N neutrons
Z protons
N-1 neutrons
Z+1 protons
ν
Enrico Fermi
Wolfgang Pauli
(electron energy)/(maximum energy)

---
Half a Century of Neutrino Physics
Frederick
Reines
Clyde
Cowan
“inverse beta decay”
“solar neutrino problem”
Beginning late 1960s:
Measure only ~1/3 of the neutrinos expected from fusion in the sun
Nuclear Reactor
antineutrino
proton
positron
neutron
1953:	Confirm existence of (anti)neutrino
J. Steinberger
K. Goulianos
J. Galliard
N. Mistry
G. Danby
W. Hayes
L. Lederman
M. Schwartz
muon
(never electron)
muon
neutrino
Ar
Cl
π
Raymond Davis, Jr.
John Bahcall
Homestake Experiment
1963:	Muon neutrino ≠ Electron neutrino

---
Neutrino Oscillations
SuperK (1998): Neutrinos produced in the upper atmosphere oscillate
SNO (2001): Neutrinos produced in the sun oscillate
The neutrino flavor states that participate in weak interactions (like beta decay) are not the mass states that propagate!
muon
electron!
For only 2 flavors:
neutrino
P_{%alpha toward %beta} = sin^2(2%theta) sin^2 left ( {%DELTA m^2 L}over{4E} right )
L

---
Neutrino Knowledge Summarized
LEP (Z width): 3 (light) neutrinos
%theta_{12} approx 35^{circ}
%theta_{23} approx 45^{circ}
“PMNS Matrix”
%theta_{13} approx 9^{circ}
%delta_{"CP"} = ?
lline %DELTA m_{31}^2 rline approx 2.5 times 10^{-3} "eV"^2
%DELTA m_{21}^2 approx 7.6 times 10^{-5} "eV"^2
Compare to muon-electron mass splitting
%DELTA m_{%mu e}^2 = 1 times 10^{16} "eV"^2
[Produced with values from Forero et al. (2012) arXiv:1205.4018]

---
Double Beta Decay
neutrino is its own antiparticle
“Majorona”
N neutrons
Z protons
N-2 neutrons
Z+2 protons
2 electrons
2 neutrinos
N neutrons
Z protons
N-2 neutrons
Z+2 protons
2 electrons

---
Double Beta Decay: Why Care?
Phase space factor
(this is known)
Nuclear Matrix Element
(can be modeled)
[T^{0%nu}_{1/2}]^{-1} = G^{0%nu}(E,Z) lline langle m_{%nu} rangle rline^{2} lline M^{0%nu} rline^{2}
The standard mode has been observed.
[T^{2%nu}_{1/2}]^{-1} = G^{2%nu}(E,Z) lline M^{2%nu} rline^{2}
Nuclear Matrix Element
(evaluate models)
Measured
{}^{100}"Mo":" "7.1 times 10^{18} "years"
[NEMO-3, (2005) PRL 95]
{}^{136}"Xe":" "2.2 times 10^{21} "years"
[EXO-200, (2012) PRL 107]

---
Double Beta Decay: While You're At It
Coupling Constant
[T^{%chi}_{1/2}]^{-1} = G^{%chi}(E,Z) lline langle g_{e e} rangle rline^{2N} lline M^{%chi} rline^{2}
Number Emitted
Many models predict Majorons:
Goldstone boson resulting from breaking of lepton symmetry
or something that carries lepton number to conserve that symmetry
“Majorons”